**CLEAN CON30 Tester**

Conductivity / TDS / Salinity Tester

CON30 is the best value salt meter in your pocket, with 4 parameters (Conductivity / TDS / Salinity tester) in one and easy calibration. This dip-style tester is ideal for spot checking with greater flexibility.

|  |  |  |
| --- | --- | --- |
|  |  |  |
|  | Range | 0.0 μS/cm (ppm) - 20.00 mS/cm (ppt) |
|  | Resolution | 0.1 μS/cm (ppm) - 0.01 mS/cm (ppt) |
|  | Accuracy | ±1% F.S. |
|  | Temp. Range | 0 - 100.0 °C / 32 - 212 °F |
|  | Working Temperature | 0 - 60.0 °C / 32 - 140 °F |
|  | Temp. Compensation Range | 0.0 - 60.0 °C |
|  | Temp. Compensation Type | Auto/Manual |
|  | Solution Temp. Coefficient | 0.00 - 10.00% (default 2.00%) |
|  | Reference Temp. | 15.0 - 30.0°C (default 25 °C) |
|  | Calibration | Any 1 Point Calibration |
|  | TDS Range(Coefficient:0.5) | 0.0 mg/L (ppm) - 20.00 g/L (ppt) |
|  | TDS Coefficient | 0.40 - 1.00 Adjustable (Coefficient:0.5) |
|  | Salinity Range | 0.0 mg/L (ppm) - 13.00 g/L (ppt) |
|  | Salinity Coefficient | 0.65 |
|  | Probe | CS3931 Graphite , K=1.0 |
|  | Auto backlight off | 1 minute |
|  | Auto power off | 5 minutes without key be pressed |
|  | Power | 1x1.5V AAA battery |
|  | Dimensions | (H×W×D) 185×40×48 mm |
|  | Weight | 95g |
|  | Protection | IP67 |

**CLEAN DO30 Tester**

Dissolved Oxygen Tester

Characterized by the accuracy, economic, easy operation and maintenance, DO30 Dissolved Oxygen Tester offers you the best value dissolve oxygen measurements experiences.

|  |  |
| --- | --- |
| Range | 0.00 - 20.00 mg/L; 0.0 - 200.0% |
| Resolution | 0.01 mg/L; 0.1% |
| Aaccuracy | ±0.5% F.S. |
| Temp. Range | 0 - 100.0 °C / 32 - 212 °F |
| Working Temperature | 0 - 60.0 °C / 32 - 140 °F |
| Auto Temperature Compensation | 0 - 60ºC |
| Calibration | 1 or 2 point auto calibrate(0% zero oxygen or 100% in air) |
| Salinity Compensation | 0.0 - 40.0 ppt |
| Atmospheric Pressure Compensation | 600 - 1100 mbar |
| Auto backlight off | 1 minute |
| Auto power off | 5 minutes without key be pressed |
| Power | 1x1.5V AAA battery |
| Dimensions | (H×W×D) 185×40×48 mm |
| Weight | 95g |
| Protection | IP67 |

**CLEAN DO500 Dissolved Oxygen Meter**

Brief and exquisite design, space saving, optimum accuracy, easy operation comes with high luminant backlight. Clean DO500 is your brilliant choice for routine applications in laboratories, productions plants and schools.

|  |  |  |
| --- | --- | --- |
| Saturation Percentage | Range | 0.0%~400.0% |
|  | Resolution | 0.1% |
|  | Accuracy | 0.2% F.S. |
| Oxygen concentration | Range | 0.00 mg/L~40.00 mg/L |
|  | Resolution | 0.01 mg/L |
|  | Accuracy | 0.2% F.S. |
| Temperature | Range | when compensating:0.0 C~50.0 C when testing:0.0 C~50.0 C |
|  | Resolution | 0.1°C |
|  | Accuracy | 0.5 C |
| Atmospheric Pressure | Range | 600 mbar~1400 mbar |
|  | Resolution | 1 mbar |
|  | Default | 1013 mbar |
| Salinity | Range | 0.0 g/L~40.0 g/L |
|  | Resolution | 0.1 g/L |
|  | Default | 0.0 g/L |
| Environment | Humidity | -5°C~60°C, Relative humidity<90% |
| Dimensions | 140\*210\*35mm (W\*L\*H) | |
| Weight | 630g | |

**CLEAN PH30 Tester**

Fun of Measuring

Comes from extensive applications: PH30 meet your water measurement needs from 1ml micro sample testing to field throw measurement, skin or paper pH testing, etc.

|  |  |  |
| --- | --- | --- |
|  | Range | -2.00 ~ +16.00 pH |
|  | Resolution | 0.01 pH |
|  | Accuracy | ± 0.01+1LSD |
|  | Temp. Range | 0 - 100.0 °C / 32 - 212 °F |
|  | Working Temperature | 0 - 60.0 °C / 32 - 140 °F |
|  | Temp. Resolution | 0.1 °C / 1 °F |
|  | Calibration Point | Up to 3 (auto recognized) |
|  | pH Buffer Kinds | USA - pH 4.01, 7.00, 10.01 NIST - pH 4.01, 6.86, 9.18 |
|  | Electrode | CS1930 plane pH electrode |
|  | LCD | 20\*30 mm multi-line crystal display with backlight |
|  | Temperature Compensation | Auto / Manual |
|  | Lock | Auto / Manual |
|  | Auto backlight off | 1 minute |
|  | Auto power off | 5 minutes without key be pressed |
|  | Power | 1x1.5V AAA battery |
|  | Dimensions | (H×W×D) 185×40×48 mm |
|  | Weight | 95g |
|  | Protection | IP67 |

**CLEAN PH500 pH / mV Meter**

Brief and exquisite design, space saving, easy calibration with calibrated points displayed, optimum accuracy, simple operation comes with high luminant backlight. Clean PH500 is your reliable partner for routine applications in laboratories, productions plants and schools

|  |  |  |
| --- | --- | --- |
| pH | Range | -2.00 ~ 16.00 pH |
|  | Resolution | 0.01 pH |
|  | Accuracy | ±0.01+1LSD |
| mV | Range | -2000~2000 mV |
|  | Resolution | 1 mV |
|  | Accuracy | ±2 mV |
| Temperature | Range | -10.0°C~110.0°C |
|  | Resolution | 0.1°C |
|  | Accuracy | 0.5°C |
| pH Buffer Kinds | NIST | 4.00, 6.86, 9.18 |
|  | USA | 4.01, 7.00, 10.01 |
| Others | Environment | -5°C~60°C, Relative humidity<90% |
|  | Memory | 150 sets |
| Dimensions | 140\*210\*35mm (W\*L\*H) | |
| Weight | 630g | |